## VC707
Component | Slot | Module | Subsection | Channel | Signal Description
CHP | 1 | B | 1 | 0 | Governor Bias
CHP | 1 | B | 1 | 1 | AVR Bias
Diesel | 1 | B | 1 | 2 | Governor Bias
Diesel | 1 | B | 1 | 3 | AVR Bias
CHP | 1 | A | 1 | 0 | GCB voltage Phase A
CHP | 1 | A | 1 | 1 | GCB voltage Phase B
CHP | 1 | A | 1 | 2 | GCB voltage Phase C
CHP | 1 | A | 1 | 3 | MAIN voltage Phase A [SEL751- F3]
CHP | 1 | A | 1 | 4 | MAIN voltage Phase B [SEL751- F3]
CHP | 1 | A | 1 | 5 | MAIN voltage Phase C [SEL751- F3]
Diesel | 1 | A | 1 | 6 | GCB voltage Phase A
Diesel | 1 | A | 1 | 7 | GCB voltage Phase B
Diesel | 1 | A | 2 | 0 | GCB voltage Phase C
Diesel | 1 | A | 2 | 1 | MAIN voltage Phase A [SEL751- F1]
Diesel | 1 | A | 2 | 2 | MAIN voltage Phase B [SEL751- F1]
Diesel | 1 | A | 2 | 3 | MAIN voltage Phase C [SEL751- F1]
CHP | 1 | A | 2 | 4 | Speed
Diesel | 1 | A | 2 | 5 | Speed
CHP | 2 | A | 1 | 0 | MAIN voltage Phase A [SEL751- F3]
CHP | 2 | A | 1 | 1 | GCB current Phase A
CHP | 2 | A | 1 | 2 | GCB current Phase B
CHP | 2 | A | 1 | 3 | GCB current Phase C
Diesel | 2 | A | 1 | 4 | MAIN voltage Phase A [SEL751- F1]
Diesel | 2 | A | 1 | 5 | GCB current Phase A
Diesel | 2 | A | 1 | 6 | GCB current Phase B
Diesel | 2 | A | 1 | 7 | GCB current Phase C

## OP5142X1
Component | Slot | Module | Subsection | Channel | Signal Description
SEL751-F1 | 4 | A | 3 | 0 | Breaker Close
SEL751-F1 | 4 | A | 3 | 1 | Breaker Trip
N/A | 4 | A | 3 | 2 | N/A
SEL751-F2 | 4 | A | 3 | 3 | Breaker Close
SEL751-F2 | 4 | A | 3 | 4 | Breaker Trip
N/A | 4 | A | 3 | 5 | N/A
SEL751-F3 | 4 | A | 3 | 6 | Breaker Close
SEL751-F3 | 4 | A | 3 | 7 | Breaker Trip
SEL751-F1 | 4 | B | 1 | 0 | Status
N/A | 4 | B | 1 | 1 | N/A
SEL751-F2 | 4 | B | 1 | 2 | Status
N/A | 4 | B | 1 | 3 | N/A
SEL751-F3 | 4 | B | 1 | 4 | Status
N/A | 4 | B | 1 | 5 | N/A
N/A | 4 | B | 1 | 6 | N/A
N/A | 4 | B | 1 | 7 | N/A
SEL751-F1 | 1 | A | 1 | 0 | Current Phase A
SEL751-F1 | 1 | A | 1 | 1 | Current Phase B
SEL751-F1 | 1 | A | 1 | 2 | Current Phase C
SEL751-F1 | 1 | A | 1 | 3 | Voltage Phase A
SEL751-F1 | 1 | A | 1 | 4 | Voltage Phase B
SEL751-F1 | 1 | A | 1 | 5 | Voltage Phase C
SEL751-F1 | 1 | A | 1 | 6 | Voltage Sync
SEL751-F1 | 1 | A | 1 | 7 | Calibration
SEL751-F2 | 1 | A | 2 | 0 | Current Phase A
SEL751-F2 | 1 | A | 2 | 1 | Current Phase B
SEL751-F2 | 1 | A | 2 | 2 | Current Phase C
SEL751-F2 | 1 | A | 2 | 3 | Voltage Phase A
SEL751-F2 | 1 | A | 2 | 4 | Voltage Phase B
SEL751-F2 | 1 | A | 2 | 5 | Voltage Phase C
SEL751-F2 | 1 | A | 2 | 6 | Voltage Sync
SEL751-F2 | 1 | A | 2 | 7 | Calibration
SEL751-F3 | 2 | A | 1 | 0 | Current Phase A
SEL751-F3 | 2 | A | 1 | 1 | Current Phase B
SEL751-F3 | 2 | A | 1 | 2 | Current Phase C
SEL751-F3 | 2 | A | 1 | 3 | Voltage Phase A
SEL751-F3 | 2 | A | 1 | 4 | Voltage Phase B
SEL751-F3 | 2 | A | 1 | 5 | Voltage Phase C
SEL751-F3 | 2 | A | 1 | 6 | Voltage Sync
SEL751-F3 | 2 | A | 1 | 7 | Calibration