## Slide 1: Quick Look KPP#1: Load Outage Duration 1/27/2017
Vendor #1 | Critical | Priority | Interruptible
% KWh Outage | 13% | 51% | 54%
% Time Outage | 13% | 46% | 59%
Vendor #2 |  |  | 
% KWh Outage | --% | --% | --%
% Time Outage | --% | --% | --%

## Slide 2: Quick Look KPP #2: Energy Cost

## Slide 3: Quick Look KPP#3: Fuel Consumption During Islanded Condition
 | Diesel (gpm) | CHP (Nm3/min) | Boiler (Nm3/min)
Vendor #1 | 3.0 | 12 | 5.4
Vendor #2 | -- | -- | --